One-door Access Controller

User Manual  V2.2

1. Specifications:

1.1Technical parameters：

| NO | Item | Value |
| --- | --- | --- |
| 1 | Operating voltage | DC 12V±10% |
| 2 | Operating current | < 100mA |
| 3 | Dimensions | 120mm×78mm×22mm |
| 4 | Weight | 110g |
| 5 | Ambient temperature | 0℃—60℃ |
| 6 | Relative humidity | 20%—80% |
| 7 | Storage | 1000users |
| 8 | Card type (alternative) | EM(ID) card(IC card for options) |
| 9 | Card reading distance | 1－15CM |

1.2 Factory Default：

1.3 Light and Sound indicates:

# Light: red and green

| Light Description | Access control status |
| --- | --- |
| Red light flash every 1 sec （Slow flash） | Holding state |
| Red light is always ON | Programming state |
| Green light is always ON within Open time | Unlocking state |
| Green light flash every 0.5sec (Fast flash) | Pending further action |

Sound：buzz

| Description | Indicates |
| --- | --- |
| 1 short buzz | Valid input |
| 3 short buzz | Invalid input |
| 1 long buzz | Program success |
| Continuous long buzz | Restoring factory programming passwords |

2. Installations Guide:

JP1 terminal：

JP2 terminal：

Wiring diagram:

3. Programming Guide

3.1 Detailed Programming Guide：

3.2  To reset to Factory Programming Password（123456）

Step1、Turn off power and connect bin 2&3 of RST(S1)。

Step2、Turn on power and buzzer gives 3 long buzz with green light flash fast。

If need to set Manager Card, now read two empty cards first one as Manager Add Card and Second one as Manager Delete Card with red light flashing and continuous short buzz .

Step3、Turn off power, disconnect bin2&3 and connect bin 1&2 of RST。

Step4、Turn on power again.

3.3 How to use Manager Card – MAC&MDC

To add a card user in standby mode:  read MAC  read new cards  read MAC

To delete a card user in standby mode: read MDC  read registered cards  read MDC

To delete all users in standby mode:  read MDC  read MAC  read MDC

Remark: User cards can be added or deleted continuously.

3.4 User ID No. explain

User ID is auto-generating 4-digit number started at 0001. The number increases with adding user one by one and ignores deleting user. Common Access Password has no ID.

3.5 How to change PIN (When open mode: card+ PIN)

After reading card and input corresponding PIN to open the door, within 5 seconds, long press  # until the green  lights flash fast. and then input  new PIN   #   new PIN   # , new PIN changed successfully with a long buzz.

# Text boxes

| Programming Password | 123456 | Common Access Password | None |
| --- | --- | --- | --- |
| Backlight | Auto (for options) | Relay Unlock output | 5 Seconds |
| W26 port | Input (for options) | Security mode | OFF |
| Open mode | Card or Access Password Access Password include Private Access Password (PIN) and Common Access Password |

| NO | Mark | Color | Function |
| --- | --- | --- | --- |
| 1 | +12V | Red | Power+ |
| 2 | GND | Black | Power- |
| 3 | PUSH | BLUE | Low level output |
| 4 | OPEN | Yellow | Door Release |
| 5 | BELL | Grey | BELL |
| 6 | BELL | White | BELL |

| NO | Mark | Color | Function | Remark |
| --- | --- | --- | --- | --- |
| 1 | +12V | Red | Power+ | For options |
| 2 | GND | Black | Power- |  |
| 3 | DATA0 | Green | WG DATA0 |  |
| 4 | DATA1 | White | WG DATA1 |  |
| 5 | NC | Brown | Relay NC output |  |
| 6 | COM | Blue | Relay Com output |  |
| 7 | NO | Purple | Relay NO output |  |

Remark:

If let relay drive electric-lock, please connect a reverse diode with the lock’s “+” and “-” poles.

| Purpose | Operation | Remark |
| --- | --- | --- |
| Basic Function | Change Programming Password | # Programming Password # 0 new Programming Password # New Programming Password # | If Programming Password lost, perform 3.2 to reset to Factory Default (123456). |
|  | Add user card | # Programming Password # 1 read card # | If add multi cards, read cards continuously |
|  | Set Common Access Password | # Programming Password # 21 new Common Access Password # | Common Access Password is only one. Open method: Common Access Password # |
|  | Delete all users | # Programming Password # 40 0000 # | Delete all cards and PIN except Common Access Password |
|  | Delete user by read card | # Programming Password # 41 read card # | If delete multi cards, read cards continuously |
| Expand Function | Add Private Access Password(PIN) | # Programming Password # 22 PIN # | PIN can be more, Unlock door method: PIN # |
|  | Add card by input card No. | # Programming Password # 23 input card No. # | Card No. is 10-digit or 8-digit, machine auto-identify |
|  | Add multi-card by input card No. zone | # Programming Password # 24 input start card No. card Qty # | Card Qty is 4-digit (If one-time add twenty cards, input 0020) |
|  | Add “card +PIN” | # Programming Password # 3 read card PIN # | If modify PIN, see 3.5 |
|  | Delete user by input User ID No. | # Programming Password # 42 input User ID No. # | About User ID No. see 3.4 |
|  | Delete user by input card No. | # Programming Password # 43 input card No. # | Card No. is 10-digit or 8-digit, machine auto-identify |
|  | Delete user by input PIN | # Programming Password # 44 input PIN # | PIN is 3~6 digits. |
|  | Delete all PIN users | # Programming Password # 45 1111 # | Use to PIN users (Do not include Card users and Card +PIN users) |
|  | Change Open time | # Programming Password # 5 XX # | XX can be 2-digit, and the max. is 99. If input 00, the signal output time is 0.2 Secs. |
|  | Set Open mode | # Programming Password # 6 XX # | XX can be 01(only card)/ 02(card or Access Password)/ 03(card+PIN) |
|  | Reader setting (For options) | # Programming Password # 6 04 # | The machine can be used for reader(W26 output) |
|  | Security function Setting Anti-dismantle Alarm setting(For options) | # Programming Password # 7 XX # | XX can be 01/ 02( Security function OFF/ON) and 03/04(Anti-dismantle alarm OFF/ON) |
|  |  | Remark: Security Function ON means System would be locked for 5 Minutes if continue to read illegal card or input wrong Access Password for 10 times. |
|  | Backlight setting(For options) | # Programming Password # 8 XX # | XX can be 01/02/03 (Normal ON / Normal OFF / Auto) |
|  | Reset Factory Default | # Programming Password # 8 99 # | Except Programming Password and Manager Card |
|  | Set Manager Card | # Programming Password # 91 read MAC read MDC # | First read card is Manager Add Card and Second read card is Manager Delete Card. |

Programming Password Default: 123456, all password can be 3~6 digits